## Slide 1: Insulin Calculator: Secret steps to invoke
14-step process
3 Value-added steps
3 safety checks: 2 flawed

## Slide 2: Old Insulin Calculator output

## Slide 3: Improved/Integrated Insulin Calculator
8-step process
2 Value-added steps
6 safety checks
Upstream mistake-proofing

## Slide 4: Parameters pulled from order
Prevents transcription error
Grey dithered check changes to green check
Serves as active validation of ordered parameters
Required data entry fields yellow

## Slide 5: Correct Order Identification: Visual cues

## Slide 6: Carbohydrate Validation and Feedback
“0” Carbs is acceptable at any time
Calculation is displayed
Data entry validation
  Carbs > 250 gm are challenged
  Carbs > 300 gm are not valid

## Slide 7: Blood Glucose for Calculation Validation and Feedback